## Inputs
| Efficiency (%) | Fuel Carbon Emissions Factor (kgCO2/kWh) | Fuel unit cost (p/kWh) | Heat cost (p/kWh produced) | Heat Carbon Emissions Factor (kgCO2/kWh produced) | Hybrid only (Ratio HP to boiler)
Air Source Heat Pump | 290% | 0.21016 |  | 0 | 0.072469
High Temperature ASHP | 240% | 0.21016 |  | 0 | 0.087567
Ground Source Heat Pump | 330% | 0.21016 |  | 0 | 0.063685
Hybrid Heat Pump (HP) | 290% | 0.21016 |  | 0 | 0.15158 | 50%
Hybrid Heat Pump (GB) | 79.25% | 0.18282 |  |  |  | 50%
Electrical Resistance Heaters | 100% | 0.21016 |  | 0 | 0.21016
Natural Gas Boiler | 79.25% | 0.18282 |  | 0 | 0.23069
Oil Fired Boiler | 73% | 0.26709 |  | 0 | 0.36588
LPG Boiler | 79.25% | 0.21419 |  | 0 | 0.27027
Non-Renewable Solid Fuel Boiler | 65% | 0.31459 |  | 0 | 0.48398
Biomass Boiler | 65% | 0.01513 |  | 0 | 0.023277

## Comparison Matrix
% change in heat cost p/kWh produced (as a % of current system) |  |  | New System
|  |  | Air Source Heat Pump | HT ASHP | Ground Source Heat Pump | Hybrid Heat Pump | Electrical Resistance Heaters | Natural Gas Boiler | Oil Fired Boiler | LPG Boiler | Non-Renewable Solid Fuel Boiler | Biomass Boiler
| Current system | Air Source Heat Pump |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | HT ASHP | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Ground Source Heat Pump | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Hybrid Heat Pump | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Electrical Resistance Heaters | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Natural Gas Boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Oil Fired Boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0!
|  | LPG Boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | Non-Renewable Solid Fuel Boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  | Biomass Boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
% change in heat carbon emissions factor kgCO2/kWh produced (as a % of current system) |  |  | New System
|  |  | Air Source Heat Pump | HT ASHP | Ground Source Heat Pump | Hybrid Heat Pump | Electrical Resistance Heaters | Natural Gas Boiler | Oil Fired Boiler | LPG Boiler | Non-Renewable Solid Fuel Boiler | Biomass Boiler
| Current system | Air Source Heat Pump |  | 20.83% | -12.12% | 109.2% | 190% | 218.3% | 404.9% | 272.9% | 567.9% | -67.88%
|  | HT ASHP | -17.24% |  | -27.27% | 73.1% | 140% | 163.4% | 317.8% | 208.6% | 452.7% | -73.42%
|  | Ground Source Heat Pump | 13.79% | 37.5% |  | 138% | 230% | 262.2% | 474.5% | 324.4% | 660% | -63.45%
|  | Hybrid Heat Pump | -52.19% | -42.23% | -57.99% |  | 38.65% | 52.19% | 141.4% | 78.3% | 219.3% | -84.64%
|  | Electrical Resistance Heaters | -65.52% | -58.33% | -69.7% | -27.87% |  | 9.768% | 74.09% | 28.6% | 130.3% | -88.92%
|  | Natural Gas Boiler | -68.59% | -62.04% | -72.39% | -34.29% | -8.898% |  | 58.6% | 17.16% | 109.8% | -89.91%
|  | Oil Fired Boiler | -80.19% | -76.07% | -82.59% | -58.57% | -42.56% | -36.95% |  | -26.13% | 32.28% | -93.64%
|  | LPG Boiler | -73.19% | -67.6% | -76.44% | -43.92% | -22.24% | -14.65% | 35.37% |  | 79.07% | -91.39%
|  | Non-Renewable Solid Fuel Boiler | -85.03% | -81.91% | -86.84% | -68.68% | -56.58% | -52.34% | -24.4% | -44.16% |  | -95.19%
|  | Biomass Boiler | 211.3% | 276.2% | 173.6% | 551.2% | 802.9% | 891.1% | 1472% | 1061% | 1979%